## Analytical Data
ACME ANALYTICAL LABORATORIES LTD. |  |  |  | Final Report
Client: | Servico Geologico do Brasil CPRM PA
File Created: | 15-Mar-2011
Job Number: | GOI11000023
Number of Samples: | 68
Project: | Project Tres Passos
Shipment ID: | 017
P.O. Number: | LOTE 800
Received: | 07-Jan-2011
| Method | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F
| Analyte | Ag | Al | As | Au | B | Ba | Be | Bi | Ca | Cd | Ce | Co | Cr | Cs | Cu | Fe | Ga | Ge | Hf | Hg | In | K | La | Li | Mg | Mn | Mo | Na | Nb | Ni | P | Pb | Pd | Pt | Rb | Re | S | Sb | Sc | Se | Sn | Sr | Ta | Te | Th | Ti | Tl | U | V | W | Y | Zn | Zr
| Unit | PPB | % | PPM | PPB | PPM | PPM | PPM | PPM | % | PPM | PPM | PPM | PPM | PPM | PPM | % | PPM | PPM | PPM | PPB | PPM | % | PPM | PPM | % | PPM | PPM | % | PPM | PPM | % | PPM | PPB | PPB | PPM | PPB | % | PPM | PPM | PPM | PPM | PPM | PPM | PPM | PPM | % | PPM | PPM | PPM | PPM | PPM | PPM | PPM
| MDL | 2 | 0.01 | 0.1 | 0.2 | 20 | 0.5 | 0.1 | 0.02 | 0.01 | 0.01 | 0.1 | 0.1 | 0.5 | 0.02 | 0.01 | 0.01 | 0.1 | 0.1 | 0.02 | 5 | 0.02 | 0.01 | 0.5 | 0.1 | 0.01 | 1 | 0.01 | 0.001 | 0.02 | 0.1 | 0.001 | 0.01 | 10 | 2 | 0.1 | 1 | 0.02 | 0.02 | 0.1 | 0.1 | 0.1 | 0.5 | 0.05 | 0.02 | 0.1 | 0.001 | 0.02 | 0.1 | 2 | 0.1 | 0.01 | 0.1 | 0.1
Sample | Type
JCD001 | Sediment | 19 | 1.1 | 1.5 | 0.2 | <20 | 139.2 | 0.5 | 0.05 | 0.2 | 0.09 | 39.8 | 10.2 | 42.3 | 0.88 | 20.02 | 2 | 4.2 | <0.1 | 0.05 | 24 | <0.02 | 0.18 | 17.7 | 6.7 | 0.4 | 312 | 0.29 | 0.008 | 0.34 | 18.2 | 0.036 | 7.76 | <10 | 2 | 17.7 | <1 | <0.02 | 0.03 | 3.3 | <0.1 | 0.5 | 21.3 | <0.05 | <0.02 | 13.2 | 0.055 | 0.1 | 0.7 | 45 | <0.1 | 7.24 | 27.7 | 2.5
JCD002 | Sediment | 15 | 0.52 | 2.2 | 0.7 | <20 | 81 | 0.4 | 0.11 | 0.14 | 0.04 | 32.4 | 5.7 | 34.2 | 0.8 | 5.64 | 2.41 | 2.6 | <0.1 | 0.11 | 20 | <0.02 | 0.05 | 14.4 | 5.6 | 0.2 | 234 | 0.26 | 0.003 | 0.37 | 9.4 | 0.026 | 9.95 | <10 | <2 | 7 | <1 | <0.02 | 0.21 | 1.7 | <0.1 | 0.5 | 12.1 | <0.05 | 0.04 | 7.4 | 0.049 | 0.04 | 0.7 | 53 | <0.1 | 5.13 | 23.5 | 4.4
JCD003 | Sediment | 24 | 0.84 | 2.9 | 1.1 | <20 | 154.4 | 0.5 | 0.09 | 0.15 | 0.08 | 33.7 | 9 | 47.8 | 1.55 | 41.66 | 2.22 | 3.2 | <0.1 | 0.06 | 10 | <0.02 | 0.1 | 15 | 7.3 | 0.36 | 359 | 0.33 | 0.004 | 0.4 | 22.4 | 0.033 | 8.13 | <10 | 5 | 11.2 | 1 | <0.02 | 0.18 | 2.6 | <0.1 | 0.5 | 14.3 | <0.05 | 0.04 | 9.3 | 0.049 | 0.06 | 0.7 | 50 | <0.1 | 6.26 | 26.7 | 3.1
JCD004 | Sediment | 16 | 0.55 | 3.4 | 15.1 | <20 | 127.5 | 0.6 | 0.1 | 0.09 | 0.04 | 32.6 | 5.3 | 19.3 | 1.33 | 5.64 | 1.52 | 2.1 | <0.1 | 0.04 | 31 | <0.02 | 0.07 | 14.1 | 5.2 | 0.13 | 316 | 0.15 | 0.002 | 0.48 | 7.4 | 0.017 | 9.7 | <10 | 4 | 10.3 | <1 | <0.02 | 0.17 | 1.7 | <0.1 | 0.5 | 9.3 | <0.05 | <0.02 | 2.9 | 0.025 | 0.07 | 0.5 | 31 | <0.1 | 5.46 | 21 | 2.9
JCD005 | Sediment | 19 | 0.68 | 2.4 | 0.5 | <20 | 111.3 | 0.6 | 0.09 | 0.16 | 0.05 | 32.8 | 7.2 | 26.3 | 0.93 | 7.59 | 1.91 | 2.7 | <0.1 | 0.1 | 18 | <0.02 | 0.06 | 14.9 | 7.7 | 0.26 | 295 | 0.22 | 0.004 | 0.41 | 10.9 | 0.033 | 9 | <10 | 4 | 9 | <1 | <0.02 | 0.18 | 2.2 | <0.1 | 3.5 | 15 | <0.05 | 0.06 | 2.9 | 0.051 | 0.05 | 0.6 | 41 | <0.1 | 5.7 | 27.1 | 4.1
JCD006 | Sediment | 27 | 0.65 | 4.2 | 0.5 | <20 | 158.7 | 0.7 | 0.15 | 0.15 | 0.07 | 36.7 | 4.4 | 12.9 | 0.8 | 4.2 | 1.24 | 2.2 | <0.1 | 0.08 | 12 | <0.02 | 0.07 | 16.3 | 7.3 | 0.14 | 470 | 0.14 | 0.004 | 0.2 | 6 | 0.019 | 11.97 | <10 | <2 | 9.3 | <1 | <0.02 | 0.2 | 1.8 | <0.1 | 2.2 | 14.4 | <0.05 | 0.04 | 4 | 0.012 | 0.09 | 0.9 | 21 | <0.1 | 7.75 | 24.7 | 3.3
JCD007 | Sediment | 22 | 0.9 | 4.6 | 0.6 | <20 | 214.5 | 0.7 | 0.12 | 0.23 | 0.05 | 41.5 | 9.4 | 30.6 | 1.15 | 8.67 | 2.47 | 3.6 | <0.1 | 0.1 | 15 | <0.02 | 0.07 | 18.4 | 12.5 | 0.31 | 420 | 0.35 | 0.004 | 0.35 | 14.7 | 0.048 | 11.24 | <10 | 4 | 10 | <1 | <0.02 | 0.25 | 2.8 | <0.1 | 0.5 | 23.5 | <0.05 | 0.05 | 3.1 | 0.043 | 0.07 | 0.8 | 47 | <0.1 | 7.7 | 42.3 | 4.7
JCD008 | Sediment | 33 | 1.64 | 3.9 | 1.3 | <20 | 312.8 | 0.8 | 0.12 | 0.31 | 0.05 | 49.2 | 11.6 | 51.3 | 1.06 | 16.16 | 3.12 | 5.4 | <0.1 | 0.1 | 11 | 0.02 | 0.11 | 25.2 | 15.3 | 0.52 | 661 | 0.19 | 0.007 | 0.37 | 22.8 | 0.053 | 11.93 | <10 | 5 | 14.4 | 1 | <0.02 | 0.29 | 4.5 | <0.1 | 0.5 | 33.1 | <0.05 | 0.04 | 3.7 | 0.05 | 0.09 | 1 | 59 | <0.1 | 12.61 | 49.4 | 4.5
JCD009 | Sediment | 14 | 0.53 | 4.7 | 0.4 | <20 | 101.8 | 0.7 | 0.07 | 0.09 | 0.04 | 30.1 | 6.2 | 21.3 | 0.73 | 5.51 | 1.53 | 2.1 | <0.1 | 0.03 | 6 | <0.02 | 0.03 | 14.8 | 5.8 | 0.13 | 324 | 0.15 | 0.003 | 0.22 | 11.1 | 0.031 | 8.31 | <10 | 3 | 6.2 | 2 | <0.02 | 0.14 | 1.8 | 0.2 | 0.4 | 11.4 | <0.05 | 0.02 | 2 | 0.018 | 0.05 | 0.5 | 25 | <0.1 | 6.41 | 27.5 | 1.6
JCD010 | Sediment | 11 | 0.47 | 5.3 | <0.2 | <20 | 116.1 | 0.8 | 0.07 | 0.08 | 0.04 | 27.1 | 4.5 | 9.3 | 0.77 | 3.3 | 1.26 | 1.6 | <0.1 | 0.03 | 6 | <0.02 | 0.04 | 12.2 | 5.1 | 0.08 | 450 | 0.17 | 0.003 | 0.19 | 3.9 | 0.023 | 9.31 | <10 | 5 | 7.6 | 1 | <0.02 | 0.26 | 1.4 | <0.1 | 0.6 | 8.9 | <0.05 | 0.03 | 2 | 0.009 | 0.07 | 0.4 | 21 | <0.1 | 6.98 | 18.8 | 1.1
JCD011 | Sediment | 8 | 0.51 | 4.2 | <0.2 | <20 | 101.9 | 0.6 | 0.1 | 0.09 | 0.03 | 32.7 | 4.7 | 19.7 | 0.79 | 2.94 | 1.46 | 1.8 | <0.1 | 0.02 | 7 | <0.02 | 0.04 | 15.8 | 6.4 | 0.14 | 286 | 0.13 | 0.003 | 0.27 | 6.6 | 0.031 | 9.33 | <10 | 5 | 7.8 | <1 | <0.02 | 0.18 | 1.4 | <0.1 | 1.3 | 8.7 | <0.05 | <0.02 | 2.6 | 0.019 | 0.06 | 0.5 | 26 | <0.1 | 5.74 | 20.7 | 0.8
JCD012 | Sediment | 7 | 0.58 | 2.7 | 1 | <20 | 114.6 | 0.4 | 0.15 | 0.12 | 0.05 | 34.7 | 4.3 | 29.5 | 0.74 | 3.76 | 1.75 | 2.4 | <0.1 | 0.02 | 12 | <0.02 | 0.06 | 18.6 | 8.2 | 0.21 | 239 | 0.13 | 0.004 | 0.41 | 8.2 | 0.031 | 10.23 | <10 | 4 | 8.1 | 1 | <0.02 | 0.3 | 1.5 | 0.2 | 0.5 | 8.9 | <0.05 | <0.02 | 3.4 | 0.03 | 0.05 | 0.6 | 35 | <0.1 | 4.74 | 23.6 | 1.7
JCD013 | Sediment | 25 | 1.18 | 5 | 0.8 | <20 | 99.9 | 0.7 | 0.1 | 0.15 | 0.2 | 38.4 | 18.6 | 34.8 | 0.71 | 24.12 | 3.84 | 4.2 | <0.1 | 0.05 | <5 | 0.02 | 0.06 | 16.2 | 10.6 | 0.3 | 576 | 0.5 | 0.004 | 0.13 | 25.5 | 0.038 | 13 | <10 | <2 | 7.6 | <1 | <0.02 | 0.18 | 4 | <0.1 | 0.6 | 15.7 | <0.05 | 0.03 | 2.6 | 0.034 | 0.05 | 0.4 | 53 | <0.1 | 6.53 | 67.9 | 3.4
JCD014 | Sediment | 144 | 2.66 | 4 | 0.6 | <20 | 327.6 | 0.8 | 0.08 | 0.7 | 0.24 | 78.4 | 32.1 | 72.2 | 1.27 | 46.07 | 5.46 | 8.9 | 0.1 | 0.18 | 22 | 0.04 | 0.07 | 36.6 | 18.9 | 0.81 | 1305 | 0.13 | 0.009 | 0.18 | 35.7 | 0.095 | 20.8 | <10 | 5 | 9.6 | 1 | <0.02 | 0.05 | 13.9 | 0.3 | 0.7 | 54.3 | <0.05 | 0.05 | 2.4 | 0.103 | 0.07 | 0.6 | 130 | <0.1 | 23.72 | 109.7 | 7.4
JCD015 | Sediment | 84 | 1.14 | 5.9 | 0.6 | <20 | 274.5 | 2.1 | 0.13 | 0.31 | 0.1 | 108.3 | 9.2 | 12.1 | 1.42 | 21.21 | 2.2 | 3.9 | <0.1 | 0.04 | 53 | 0.03 | 0.13 | 49.4 | 7.2 | 0.12 | 964 | 0.45 | 0.005 | 1.32 | 7.1 | 0.043 | 19.84 | <10 | 2 | 18.7 | <1 | 0.02 | 0.16 | 2.5 | 0.2 | 1.7 | 41.3 | <0.05 | <0.02 | 2.4 | 0.03 | 0.16 | 1.1 | 39 | <0.1 | 18.93 | 37.1 | 1.8
JCD016 | Sediment | 33 | 0.96 | 9.6 | <0.2 | <20 | 202.3 | 1.1 | 0.16 | 0.21 | 0.07 | 71.1 | 9 | 15.8 | 1.24 | 11.34 | 2.99 | 3.4 | <0.1 | 0.1 | 27 | <0.02 | 0.12 | 29.8 | 7.4 | 0.21 | 670 | 0.41 | 0.006 | 0.84 | 8.5 | 0.044 | 20.86 | <10 | 3 | 14.9 | <1 | <0.02 | 0.29 | 2.3 | 0.1 | 1.9 | 29 | <0.05 | <0.02 | 3 | 0.057 | 0.1 | 1 | 51 | <0.1 | 14.67 | 38.6 | 3.6
JCD017 | Sediment | 25 | 0.67 | 10.2 | 0.9 | <20 | 128.8 | 1.3 | 0.18 | 0.16 | 0.03 | 64.2 | 4.2 | 13.1 | 1.84 | 5.65 | 1.63 | 2.5 | <0.1 | 0.04 | 69 | 0.02 | 0.09 | 33.8 | 6.1 | 0.13 | 280 | 0.23 | 0.005 | 0.92 | 5 | 0.027 | 22.53 | <10 | 5 | 12.7 | <1 | <0.02 | 0.31 | 1.4 | <0.1 | 1.2 | 25.3 | <0.05 | <0.02 | 2.5 | 0.018 | 0.11 | 0.8 | 24 | <0.1 | 10.55 | 25.1 | 1.8
JCD018 | Sediment | 18 | 1.02 | 9.8 | 0.8 | <20 | 243 | 1 | 0.18 | 0.2 | 0.06 | 106.7 | 20.2 | 23.6 | 1.19 | 6.26 | 2.51 | 3.6 | <0.1 | 0.13 | 8 | <0.02 | 0.11 | 24.4 | 17 | 0.39 | 1371 | 0.27 | 0.007 | 0.26 | 17.7 | 0.04 | 25.97 | <10 | <2 | 12.7 | <1 | <0.02 | 0.4 | 2.4 | 0.2 | 0.9 | 18.7 | <0.05 | 0.03 | 4.4 | 0.033 | 0.1 | 0.8 | 42 | <0.1 | 10.12 | 48.5 | 5.4
JCD019 | Sediment | 18 | 0.84 | 4.4 | 0.3 | <20 | 124.2 | 0.8 | 0.17 | 0.19 | 0.06 | 49.3 | 9.2 | 29.5 | 1.43 | 4.8 | 2.23 | 3.4 | <0.1 | 0.12 | 7 | <0.02 | 0.11 | 19.8 | 15.7 | 0.38 | 318 | 0.16 | 0.005 | 0.38 | 13 | 0.041 | 15.53 | <10 | 5 | 13.5 | <1 | <0.02 | 0.27 | 2.1 | 0.1 | 0.6 | 12.1 | <0.05 | 0.06 | 7.8 | 0.057 | 0.1 | 0.8 | 41 | <0.1 | 7.52 | 39.9 | 5.8
JCD020 | Sediment | 49 | 2.4 | 13.7 | 1 | <20 | 208.7 | 0.9 | 0.12 | 0.33 | 0.67 | 55.6 | 40.8 | 65.4 | 1.23 | 56.18 | 5.87 | 7.7 | <0.1 | 0.07 | 23 | 0.03 | 0.12 | 22 | 19.2 | 0.67 | 1329 | 0.34 | 0.006 | 0.2 | 36.5 | 0.059 | 51.49 | <10 | 3 | 19.2 | <1 | <0.02 | 0.09 | 9.2 | 0.1 | 0.5 | 20.9 | <0.05 | 0.06 | 3.3 | 0.073 | 0.14 | 0.5 | 119 | <0.1 | 11.68 | 158 | 3.6
JCD021 | Sediment | 42 | 1.97 | 9.6 | 1.7 | <20 | 124.1 | 0.8 | 0.13 | 0.26 | 0.24 | 54.3 | 24.5 | 56.2 | 0.91 | 47.36 | 6.11 | 6.8 | <0.1 | 0.11 | 9 | 0.02 | 0.09 | 22.4 | 21.9 | 0.58 | 778 | 0.37 | 0.006 | 0.13 | 36.3 | 0.063 | 17.16 | <10 | 6 | 13.2 | 2 | <0.02 | 0.24 | 6.1 | 0.1 | 1.9 | 18.1 | <0.05 | 0.04 | 3.7 | 0.06 | 0.08 | 0.4 | 112 | <0.1 | 9.09 | 106.7 | 4.6
JCD022 | Sediment | 67 | 2.43 | 5.8 | 1.5 | <20 | 154.1 | 0.7 | 0.1 | 0.52 | 0.35 | 50.3 | 29.5 | 61.1 | 0.93 | 66.64 | 5.19 | 7.4 | <0.1 | 0.09 | 17 | 0.04 | 0.08 | 21.3 | 16.3 | 0.72 | 1373 | 0.3 | 0.008 | 0.2 | 36.6 | 0.049 | 14.04 | <10 | 7 | 13.8 | <1 | <0.02 | 0.06 | 11.7 | <0.1 | 0.8 | 25.2 | <0.05 | 0.05 | 2.9 | 0.076 | 0.07 | 0.6 | 120 | <0.1 | 16.07 | 94.5 | 4
JCD023 | Sediment | 13 | 0.66 | 2.5 | <0.2 | <20 | 173.4 | 0.6 | 0.07 | 0.25 | 0.04 | 44.3 | 8.2 | 23.5 | 0.57 | 6.04 | 2.05 | 3 | <0.1 | 0.13 | 11 | <0.02 | 0.05 | 18.3 | 9.3 | 0.3 | 485 | 0.22 | 0.004 | 0.28 | 8.7 | 0.071 | 9.14 | <10 | <2 | 5.8 | <1 | <0.02 | 0.1 | 2.6 | <0.1 | 0.6 | 23.8 | <0.05 | 0.02 | 3 | 0.072 | 0.04 | 0.5 | 39 | <0.1 | 7.6 | 39 | 5.9
JCD024 | Sediment | 45 | 1.95 | 4 | <0.2 | <20 | 250.1 | 0.8 | 0.09 | 0.43 | 0.19 | 50.2 | 28.6 | 61.2 | 0.92 | 38.03 | 4.5 | 6.1 | <0.1 | 0.13 | 14 | 0.03 | 0.07 | 19.6 | 14.1 | 0.66 | 1151 | 0.19 | 0.008 | 0.17 | 27.6 | 0.052 | 14.12 | <10 | 6 | 10.7 | <1 | <0.02 | 0.1 | 9.2 | <0.1 | 0.6 | 31.2 | <0.05 | <0.02 | 2.7 | 0.077 | 0.08 | 0.6 | 108 | <0.1 | 11.91 | 64.9 | 5
JCD025 | Sediment | 43 | 2.23 | 5.8 | 0.7 | <20 | 302.2 | 1.2 | 0.1 | 1.56 | 0.13 | 75.8 | 28.3 | 98 | 1.6 | 63.25 | 5.54 | 9.4 | 0.1 | 0.12 | 12 | 0.06 | 0.29 | 36.5 | 17.8 | 1.18 | 1078 | 0.46 | 0.017 | 0.78 | 47.9 | 0.295 | 10.76 | <10 | 8 | 33.4 | 2 | <0.02 | 0.13 | 10.3 | <0.1 | 0.7 | 154.5 | <0.05 | 0.08 | 4.1 | 0.165 | 0.11 | 0.9 | 179 | <0.1 | 14.14 | 78.1 | 6.8
JCD026 | Sediment | 27 | 1.18 | 4.2 | 1.1 | <20 | 346.6 | 1 | 0.09 | 0.56 | 0.16 | 61.5 | 15.7 | 41.5 | 1 | 27.53 | 3.91 | 5.5 | 0.1 | 0.07 | 14 | <0.02 | 0.17 | 29.9 | 13.2 | 0.41 | 506 | 0.44 | 0.006 | 0.78 | 21 | 0.119 | 23.49 | <10 | 5 | 19 | <1 | <0.02 | 0.15 | 4.7 | <0.1 | 0.7 | 52 | <0.05 | 0.02 | 4 | 0.103 | 0.08 | 1.1 | 100 | <0.1 | 11.55 | 58.2 | 4.7
JCD027 | Sediment | 9 | 0.51 | 0.7 | 0.3 | <20 | 63.4 | 0.3 | 0.04 | 0.08 | 0.02 | 38.3 | 2.5 | 7.9 | 0.66 | 3.1 | 1.46 | 2.6 | <0.1 | <0.02 | <5 | <0.02 | 0.08 | 21.4 | 5.3 | 0.12 | 170 | 0.05 | 0.003 | 0.5 | 2.5 | 0.017 | 5.75 | <10 | <2 | 10.3 | 2 | <0.02 | <0.02 | 1.4 | <0.1 | 1.1 | 15.6 | <0.05 | 0.03 | 2.7 | 0.029 | 0.05 | 0.9 | 23 | <0.1 | 6.18 | 17.4 | 0.7
JCD028 | Sediment | 33 | 1.13 | 14.6 | 1 | <20 | 279.6 | 1.4 | 0.18 | 0.22 | 0.06 | 83.3 | 17.7 | 31.9 | 1.47 | 6.24 | 3.34 | 4 | <0.1 | 0.04 | 10 | 0.04 | 0.11 | 28.7 | 15.3 | 0.32 | 1651 | 0.32 | 0.006 | 0.41 | 13.7 | 0.06 | 25.59 | <10 | <2 | 17.7 | <1 | <0.02 | 0.32 | 2.9 | <0.1 | 1.5 | 17.6 | <0.05 | 0.04 | 4.2 | 0.028 | 0.14 | 1 | 53 | 0.1 | 12.21 | 52.5 | 1.6
JCD029 | Sediment | 18 | 0.87 | 3.1 | 0.4 | <20 | 161.3 | 1 | 0.15 | 0.22 | 0.07 | 43 | 5.7 | 22.5 | 0.99 | 5.6 | 1.67 | 3.3 | <0.1 | 0.08 | <5 | <0.02 | 0.08 | 22.8 | 12.2 | 0.28 | 321 | 0.12 | 0.005 | 0.3 | 10.4 | 0.023 | 11.85 | <10 | 5 | 12 | <1 | <0.02 | 0.23 | 2.1 | <0.1 | 0.6 | 15.4 | <0.05 | 0.03 | 7.3 | 0.024 | 0.1 | 0.8 | 27 | <0.1 | 9 | 35.8 | 3
JCD030 | Sediment | 24 | 0.89 | 8.6 | 1.4 | <20 | 169.8 | 1.4 | 0.18 | 0.19 | 0.05 | 78.7 | 6 | 15.2 | 1.47 | 6.31 | 1.86 | 3.1 | <0.1 | 0.08 | 40 | 0.03 | 0.1 | 32.3 | 9.6 | 0.2 | 464 | 0.23 | 0.006 | 0.64 | 7.5 | 0.026 | 20.58 | <10 | 3 | 15.1 | 2 | <0.02 | 0.32 | 2 | <0.1 | 1.3 | 25.5 | <0.05 | <0.02 | 3.9 | 0.019 | 0.13 | 0.9 | 27 | <0.1 | 12.07 | 29.6 | 3.3
JCD041 | Sediment | 13 | 0.51 | 2.2 | 1.1 | <20 | 68.7 | 0.5 | 0.1 | 0.11 | 0.03 | 23.8 | 4 | 25.6 | 0.95 | 4.03 | 1.44 | 2 | <0.1 | 0.02 | 12 | 0.02 | 0.05 | 13.6 | 7 | 0.16 | 174 | 0.22 | 0.002 | 0.57 | 7 | 0.019 | 9.11 | <10 | <2 | 8.1 | <1 | <0.02 | 0.18 | 1.3 | <0.1 | 1.8 | 8.1 | <0.05 | <0.02 | 1.8 | 0.029 | 0.05 | 0.5 | 29 | <0.1 | 4.74 | 20.8 | 0.9
JCD042 | Sediment | 16 | 0.9 | 3.1 | 1.5 | <20 | 152.5 | 0.6 | 0.11 | 0.21 | 0.04 | 31.8 | 9 | 31.1 | 0.98 | 9.03 | 2.29 | 3.1 | <0.1 | 0.07 | 5 | <0.02 | 0.07 | 16.3 | 11 | 0.29 | 378 | 0.24 | 0.004 | 0.35 | 14.5 | 0.042 | 10.06 | <10 | 2 | 9.4 | <1 | <0.02 | 0.15 | 2.6 | 0.1 | 0.6 | 19.9 | <0.05 | <0.02 | 3.4 | 0.049 | 0.05 | 0.7 | 43 | <0.1 | 6.9 | 35.3 | 3.6
JCD043 | Sediment | 30 | 0.76 | 5.7 | 0.6 | <20 | 143 | 1.1 | 0.17 | 0.16 | 0.08 | 31.6 | 5.1 | 26.2 | 0.8 | 3.82 | 2.13 | 2.1 | <0.1 | 0.05 | 21 | <0.02 | 0.07 | 16.1 | 3.7 | 0.05 | 404 | 0.3 | 0.005 | 0.67 | 5.2 | 0.039 | 16.19 | <10 | <2 | 9.7 | <1 | <0.02 | 0.19 | 2 | <0.1 | 0.8 | 16.4 | <0.05 | 0.02 | 2.9 | 0.024 | 0.06 | 0.9 | 39 | <0.1 | 10.07 | 24.2 | 2.5
JCD044 | Sediment | 15 | 0.78 | 2.2 | 0.2 | <20 | 126.8 | 0.5 | 0.14 | 0.13 | 0.04 | 34.7 | 4.2 | 23.3 | 0.82 | 5.2 | 1.35 | 2.6 | <0.1 | <0.02 | 9 | <0.02 | 0.06 | 19.8 | 8.4 | 0.17 | 202 | 0.11 | 0.004 | 0.43 | 7.8 | 0.033 | 8.97 | <10 | <2 | 10.2 | <1 | <0.02 | 0.1 | 1.9 | <0.1 | 0.5 | 11.5 | <0.05 | <0.02 | 3.6 | 0.019 | 0.07 | 0.6 | 22 | <0.1 | 7.25 | 29.3 | 1.6
JCD045 | Sediment | 18 | 1.16 | 4.1 | 0.5 | <20 | 210.7 | 0.9 | 0.14 | 0.23 | 0.05 | 44.1 | 7.6 | 22.9 | 1.17 | 7 | 1.86 | 3.7 | <0.1 | 0.06 | 9 | <0.02 | 0.1 | 22.8 | 16.9 | 0.34 | 440 | 0.14 | 0.008 | 0.36 | 11.5 | 0.036 | 13 | <10 | <2 | 16 | <1 | <0.02 | 0.13 | 2.4 | <0.1 | 0.5 | 18.5 | <0.05 | <0.02 | 3.5 | 0.03 | 0.11 | 0.7 | 29 | <0.1 | 9.23 | 42 | 3.3
JCD046 | Sediment | 47 | 1.15 | 4.3 | 0.6 | <20 | 198.2 | 0.9 | 0.14 | 0.21 | 0.07 | 41.9 | 6.9 | 21.3 | 1.1 | 6.51 | 1.75 | 3.7 | <0.1 | 0.06 | 11 | <0.02 | 0.09 | 23.2 | 16.6 | 0.28 | 520 | 0.18 | 0.007 | 0.4 | 11 | 0.034 | 14.31 | <10 | <2 | 15.4 | <1 | <0.02 | 0.13 | 2.5 | <0.1 | 0.5 | 14.4 | <0.05 | 0.02 | 3.4 | 0.03 | 0.1 | 0.9 | 28 | <0.1 | 10.82 | 41.9 | 2.8
JCD047 | Sediment | 23 | 0.89 | 5.3 | 0.5 | <20 | 144.4 | 0.8 | 0.14 | 0.2 | 0.04 | 41 | 9.7 | 38.3 | 0.88 | 6.46 | 2.64 | 3.5 | <0.1 | 0.12 | 6 | <0.02 | 0.07 | 25.1 | 14.2 | 0.31 | 468 | 0.26 | 0.006 | 0.26 | 18.7 | 0.052 | 15.85 | <10 | <2 | 10.4 | <1 | <0.02 | 0.22 | 2.1 | <0.1 | 0.9 | 22.9 | <0.05 | <0.02 | 4 | 0.051 | 0.06 | 0.8 | 47 | <0.1 | 6.66 | 34.4 | 5.8
JCD048 | Sediment | 17 | 1.06 | 9.2 | 0.7 | <20 | 183.9 | 1.8 | 0.17 | 0.2 | 0.04 | 64.5 | 9.4 | 20.3 | 0.96 | 5.53 | 2.53 | 3.7 | <0.1 | 0.09 | 13 | 0.02 | 0.09 | 36.3 | 12.5 | 0.24 | 603 | 0.29 | 0.006 | 0.33 | 10.8 | 0.043 | 20.66 | <10 | <2 | 11.7 | <1 | <0.02 | 0.22 | 2.7 | 0.1 | 1 | 22.2 | <0.05 | <0.02 | 4.7 | 0.026 | 0.1 | 1.3 | 41 | <0.1 | 15.39 | 33.7 | 4.5
JCD049 | Sediment | 29 | 0.93 | 4.5 | 0.4 | <20 | 198.5 | 1.1 | 0.09 | 0.17 | 0.04 | 57 | 15 | 67.7 | 0.48 | 9.65 | 2.47 | 3.5 | <0.1 | 0.08 | 8 | <0.02 | 0.06 | 30.7 | 6 | 0.22 | 915 | 0.16 | 0.006 | 0.21 | 22.9 | 0.038 | 16.77 | <10 | <2 | 7 | <1 | <0.02 | 0.11 | 3.3 | <0.1 | 0.7 | 27.3 | <0.05 | <0.02 | 3.2 | 0.049 | 0.05 | 0.8 | 51 | <0.1 | 12.4 | 37.1 | 3.9
JCD050 | Sediment | 30 | 1.19 | 4.5 | <0.2 | <20 | 146.1 | 1.9 | 0.11 | 0.21 | 0.04 | 81.2 | 13.8 | 86.8 | 0.87 | 10.16 | 2.88 | 4.8 | <0.1 | 0.12 | 9 | 0.03 | 0.05 | 52.1 | 10.2 | 0.28 | 634 | 0.18 | 0.005 | 0.31 | 24.3 | 0.041 | 22.43 | <10 | <2 | 8.6 | <1 | <0.02 | 0.12 | 4.8 | 0.1 | 1.3 | 42 | <0.05 | <0.02 | 3.9 | 0.06 | 0.08 | 1.2 | 50 | <0.1 | 26.34 | 54.7 | 5.4
JCD051 | Sediment | 16 | 1.08 | 10.4 | 1 | <20 | 157.2 | 1.1 | 0.19 | 0.18 | 0.03 | 50 | 14.2 | 59.6 | 1.11 | 11.88 | 3.37 | 4.1 | <0.1 | 0.08 | 20 | 0.02 | 0.08 | 25.6 | 19.5 | 0.5 | 594 | 0.29 | 0.008 | 0.32 | 25.1 | 0.053 | 22.94 | <10 | <2 | 10.3 | <1 | <0.02 | 0.53 | 2.5 | <0.1 | 1.3 | 16.8 | <0.05 | <0.02 | 3.6 | 0.053 | 0.07 | 0.8 | 58 | <0.1 | 7.27 | 49.8 | 4.3
JCD052 | Sediment | 46 | 1.5 | 8.7 | 0.8 | <20 | 217.9 | 0.8 | 0.09 | 0.41 | 0.05 | 47.8 | 21.2 | 147.3 | 0.85 | 27.98 | 2.69 | 5.8 | <0.1 | 0.31 | 11 | 0.03 | 0.05 | 22.9 | 10.6 | 1.14 | 622 | 0.11 | 0.019 | 0.19 | 85 | 0.051 | 15.74 | <10 | <2 | 6.9 | <1 | <0.02 | 0.31 | 5.7 | 0.1 | 0.8 | 53.2 | <0.05 | <0.02 | 2.8 | 0.13 | 0.04 | 1 | 51 | <0.1 | 5.37 | 54.8 | 11.9
JCD053 | Sediment | 495 | 1.96 | 13.3 | 0.5 | <20 | 440.4 | 0.8 | 0.1 | 0.53 | 0.07 | 67.3 | 32.9 | 166.5 | 1.01 | 145.91 | 3.69 | 7.3 | 0.1 | 0.2 | 50 | 0.02 | 0.08 | 29.9 | 16.6 | 1.69 | 870 | 0.19 | 0.019 | 0.2 | 109.3 | 0.075 | 18.36 | <10 | <2 | 10.7 | <1 | <0.02 | 0.52 | 6.3 | 0.1 | 1.5 | 70.9 | <0.05 | <0.02 | 3.2 | 0.101 | 0.05 | 1.1 | 62 | <0.1 | 7.81 | 71.6 | 8.7
JCD054 | Sediment | 22 | 0.63 | 1.6 | 0.9 | <20 | 109 | 0.5 | 0.06 | 0.13 | 0.02 | 49.7 | 6.8 | 29.9 | 0.39 | 4.6 | 1.87 | 2.5 | <0.1 | 0.07 | <5 | <0.02 | 0.05 | 26.5 | 4.2 | 0.18 | 299 | 0.11 | 0.004 | 0.25 | 10.5 | 0.026 | 10.99 | <10 | 2 | 6.3 | <1 | <0.02 | 0.08 | 1.9 | <0.1 | 0.6 | 22.6 | <0.05 | <0.02 | 8.6 | 0.038 | 0.04 | 0.7 | 39 | <0.1 | 6.35 | 24.7 | 3
JCD055 | Sediment | 23 | 0.83 | 3.7 | 0.5 | <20 | 128.9 | 1.2 | 0.14 | 0.18 | 0.03 | 57.1 | 11.3 | 61.3 | 0.6 | 7.3 | 2.62 | 3.3 | <0.1 | 0.1 | 15 | 0.04 | 0.05 | 34.2 | 6.3 | 0.21 | 600 | 0.21 | 0.007 | 0.29 | 18 | 0.043 | 18.57 | <10 | <2 | 6.6 | <1 | <0.02 | 0.14 | 3.2 | <0.1 | 1 | 28.7 | <0.05 | <0.02 | 3 | 0.067 | 0.05 | 0.8 | 49 | <0.1 | 14.92 | 41 | 5.1
JCD056 | Sediment | 15 | 0.76 | 2.8 | 0.8 | <20 | 162.9 | 1.1 | 0.06 | 0.16 | 0.01 | 48.2 | 8.7 | 12.5 | 0.46 | 7.8 | 1.76 | 2.9 | <0.1 | 0.02 | 14 | <0.02 | 0.03 | 27.6 | 5.8 | 0.13 | 527 | 0.22 | 0.005 | 0.11 | 5.5 | 0.051 | 11.83 | <10 | <2 | 7.1 | <1 | <0.02 | <0.02 | 3 | 0.1 | 0.3 | 39.2 | <0.05 | <0.02 | 4.3 | 0.016 | 0.06 | 0.6 | 26 | <0.1 | 9.96 | 28.3 | 1.1
JCD057 | Sediment | 28 | 0.64 | 1 | 0.6 | <20 | 116.8 | 0.7 | 0.06 | 0.11 | 0.03 | 91.4 | 7 | 11.8 | 0.46 | 3.85 | 1.95 | 2.8 | <0.1 | <0.02 | <5 | <0.02 | 0.03 | 53.8 | 4.1 | 0.12 | 427 | 0.33 | 0.004 | 0.33 | 4.4 | 0.038 | 11.96 | <10 | <2 | 7.2 | <1 | <0.02 | <0.02 | 1.9 | <0.1 | 0.4 | 20.3 | <0.05 | <0.02 | 18.5 | 0.029 | 0.06 | 1.3 | 28 | <0.1 | 8.89 | 24.6 | 1.1
JCD058 | Sediment | 54 | 1.64 | 5.8 | 0.7 | <20 | 189.5 | 2.3 | 0.15 | 0.16 | 0.04 | 219.4 | 20.3 | 49.4 | 0.82 | 13.05 | 3.74 | 6.5 | <0.1 | 0.14 | 15 | 0.05 | 0.07 | 111.3 | 9.5 | 0.19 | 1239 | 0.49 | 0.007 | 0.32 | 25.6 | 0.029 | 32.74 | <10 | <2 | 10.9 | <1 | <0.02 | 0.11 | 4.6 | <0.1 | 2 | 28.9 | <0.05 | <0.02 | 7.2 | 0.047 | 0.14 | 1.4 | 60 | <0.1 | 27.33 | 57.1 | 7.4
JCD059 | Sediment | 41 | 0.89 | 2.8 | <0.2 | <20 | 160.5 | 1.1 | 0.1 | 0.15 | 0.03 | 64.1 | 10.2 | 63.1 | 0.45 | 9.2 | 2.45 | 3.4 | <0.1 | 0.1 | 11 | 0.02 | 0.06 | 35.2 | 5.6 | 0.21 | 436 | 0.24 | 0.005 | 0.31 | 24.1 | 0.029 | 16.25 | <10 | <2 | 8.3 | <1 | <0.02 | 0.12 | 2.9 | <0.1 | 0.9 | 23.5 | <0.05 | <0.02 | 3.6 | 0.046 | 0.05 | 0.8 | 45 | <0.1 | 10.29 | 37.6 | 4.2
JCD060 | Sediment | 16 | 0.53 | 1.2 | 1.3 | <20 | 116 | 0.9 | 0.04 | 0.09 | 0.02 | 66.8 | 8.8 | 7.7 | 0.44 | 3.84 | 1.23 | 2.1 | <0.1 | <0.02 | 13 | <0.02 | 0.02 | 37.3 | 3.6 | 0.08 | 617 | 0.18 | 0.005 | 0.33 | 3.7 | 0.043 | 15.41 | <10 | <2 | 5.6 | <1 | <0.02 | 0.02 | 1.7 | <0.1 | 0.9 | 19.2 | <0.05 | <0.02 | 4.9 | 0.022 | 0.06 | 0.7 | 18 | <0.1 | 8.97 | 24.9 | 0.5
JCD061 | Sediment | 12 | 0.78 | 1.6 | 0.7 | <20 | 132.8 | 0.5 | 0.03 | 0.23 | 0.02 | 53.6 | 9.4 | 19.1 | 0.49 | 12.82 | 1.7 | 3.2 | <0.1 | 0.05 | 6 | <0.02 | 0.07 | 29.4 | 7.4 | 0.27 | 358 | 0.15 | 0.01 | 0.27 | 9.9 | 0.061 | 8.68 | <10 | <2 | 8.8 | <1 | <0.02 | <0.02 | 2.7 | <0.1 | 0.8 | 29.1 | <0.05 | <0.02 | 4.1 | 0.078 | 0.06 | 0.6 | 29 | <0.1 | 7.41 | 33 | 3.1
JCD062 | Sediment | 16 | 0.41 | 1.9 | 1.8 | <20 | 86.5 | 0.5 | 0.03 | 0.07 | <0.01 | 36.4 | 5.8 | 6 | 0.38 | 2.65 | 0.9 | 1.4 | <0.1 | <0.02 | 10 | <0.02 | 0.02 | 18.2 | 2.5 | 0.06 | 402 | 0.11 | 0.003 | 0.13 | 2.5 | 0.022 | 7.51 | <10 | <2 | 5.1 | <1 | <0.02 | <0.02 | 1.3 | <0.1 | 0.2 | 16.6 | <0.05 | <0.02 | 2.1 | 0.01 | 0.05 | 0.4 | 14 | <0.1 | 5.12 | 15.9 | 0.5
JCD063 | Sediment | 16 | 0.66 | 1.2 | 0.6 | <20 | 126 | 0.5 | 0.04 | 0.18 | 0.01 | 52.5 | 6.4 | 8.6 | 0.4 | 5.33 | 1.09 | 2.5 | <0.1 | 0.02 | <5 | <0.02 | 0.04 | 30.1 | 4.3 | 0.11 | 392 | 0.1 | 0.005 | 0.13 | 4 | 0.052 | 8.22 | <10 | <2 | 7.4 | <1 | <0.02 | <0.02 | 2.2 | <0.1 | 0.4 | 33.7 | <0.05 | <0.02 | 3.1 | 0.023 | 0.04 | 0.4 | 21 | <0.1 | 6.89 | 30.2 | 0.8
JCD064 | Sediment | 12 | 0.75 | 2 | 10.3 | <20 | 110.3 | 0.5 | 0.08 | 0.89 | 0.03 | 50.1 | 7.6 | 14.3 | 0.78 | 7.09 | 1.36 | 3.3 | <0.1 | 0.03 | 5 | <0.02 | 0.06 | 22.5 | 8.8 | 0.8 | 661 | 0.16 | 0.004 | 0.18 | 8.2 | 0.057 | 6.42 | <10 | <2 | 10.7 | <1 | <0.02 | 0.45 | 2.1 | <0.1 | 0.6 | 18 | <0.05 | 0.02 | 4.9 | 0.025 | 0.07 | 0.6 | 20 | <0.1 | 6.44 | 26.2 | 2.1
JCD065 | Sediment | 12 | 0.85 | 3.4 | 0.6 | <20 | 113 | 0.6 | 0.05 | 0.22 | 0.02 | 58.5 | 7.9 | 12.5 | 0.56 | 7.74 | 1.59 | 3.7 | <0.1 | 0.03 | 6 | <0.02 | 0.06 | 30.4 | 6.4 | 0.19 | 404 | 0.13 | 0.004 | 0.09 | 6.1 | 0.033 | 8.98 | <10 | <2 | 11.5 | <1 | <0.02 | 0.44 | 2.3 | <0.1 | 0.5 | 21.2 | <0.05 | <0.02 | 6.5 | 0.019 | 0.08 | 0.5 | 35 | <0.1 | 7.36 | 31.3 | 1.8
JCD071 | Sediment | 16 | 0.66 | 1.4 | 0.2 | <20 | 112.5 | 0.5 | 0.04 | 0.11 | 0.02 | 59.7 | 6.1 | 7.8 | 0.64 | 4.68 | 0.88 | 2.5 | <0.1 | 0.03 | <5 | <0.02 | 0.06 | 29.5 | 5.2 | 0.13 | 416 | 0.15 | 0.003 | 0.17 | 4 | 0.015 | 7.45 | <10 | <2 | 13 | <1 | <0.02 | 0.18 | 1.9 | 0.1 | 0.5 | 16.7 | <0.05 | <0.02 | 8.7 | 0.024 | 0.11 | 0.8 | 17 | <0.1 | 4.77 | 18.9 | 1.6
JCD072 | Sediment | 14 | 1.27 | 2.3 | <0.2 | <20 | 159.7 | 0.7 | 0.04 | 0.36 | 0.02 | 57.3 | 13 | 21.6 | 0.75 | 18.24 | 2.74 | 5.6 | <0.1 | 0.04 | 9 | 0.02 | 0.18 | 28.7 | 9.4 | 0.38 | 825 | 0.15 | 0.009 | 0.12 | 10.8 | 0.092 | 8.61 | <10 | <2 | 16.9 | <1 | <0.02 | <0.02 | 4 | <0.1 | 0.6 | 35.3 | <0.05 | 0.03 | 4.2 | 0.069 | 0.11 | 0.6 | 50 | <0.1 | 8.06 | 50.2 | 2.1
JCD073 | Sediment | 27 | 0.87 | 3.2 | 0.3 | <20 | 307.2 | 1 | 0.08 | 0.2 | 0.03 | 54.4 | 9.6 | 9 | 0.79 | 9.83 | 1.26 | 3.1 | <0.1 | <0.02 | 10 | <0.02 | 0.06 | 26 | 8 | 0.15 | 745 | 0.23 | 0.004 | 0.1 | 5.3 | 0.024 | 11.82 | <10 | <2 | 11.9 | <1 | <0.02 | 0.02 | 2.5 | 0.1 | 10.6 | 24.2 | <0.05 | <0.02 | 3.8 | 0.013 | 0.11 | 1.1 | 25 | <0.1 | 10.16 | 29.1 | 1
JCD074 | Sediment | 15 | 0.71 | 2 | <0.2 | <20 | 213.4 | 0.5 | 0.06 | 0.14 | 0.02 | 44.9 | 6.9 | 8.7 | 0.67 | 5.94 | 1.06 | 2.6 | <0.1 | <0.02 | <5 | <0.02 | 0.07 | 20.4 | 4.9 | 0.14 | 501 | 0.16 | 0.004 | 0.17 | 4.1 | 0.031 | 7.71 | <10 | <2 | 15.2 | <1 | <0.02 | 0.02 | 2.1 | 0.2 | 0.5 | 21.5 | <0.05 | <0.02 | 3.2 | 0.024 | 0.11 | 0.6 | 20 | <0.1 | 6.01 | 25.5 | 0.9
JCD084 | Sediment | 10 | 0.3 | 1.8 | 0.4 | <20 | 169.1 | 0.3 | <0.02 | 0.07 | 0.02 | 28.2 | 5.4 | 2.2 | 0.33 | 1.84 | 0.61 | 1.1 | <0.1 | <0.02 | 7 | <0.02 | 0.02 | 15.3 | 1.5 | 0.03 | 1042 | 0.06 | 0.003 | 0.18 | 1.2 | 0.013 | 3.86 | <10 | <2 | 3.7 | <1 | <0.02 | 0.16 | 1 | <0.1 | 0.5 | 19.7 | <0.05 | <0.02 | 1.6 | 0.01 | 0.06 | 0.2 | 9 | <0.1 | 4.39 | 12.2 | 0.5
JCD085 | Sediment | 23 | 2.03 | 2.7 | 0.5 | <20 | 283.4 | 1.1 | 0.08 | 0.71 | 0.04 | 103.8 | 19.5 | 35.7 | 1.02 | 21.37 | 4.46 | 10.5 | 0.1 | 0.05 | 8 | 0.05 | 0.3 | 59.2 | 17.3 | 0.67 | 667 | 0.19 | 0.012 | 0.14 | 15 | 0.245 | 13.39 | <10 | <2 | 33.1 | <1 | <0.02 | 0.1 | 5.9 | 0.2 | 1.2 | 80.3 | <0.05 | 0.02 | 5.7 | 0.113 | 0.15 | 1 | 77 | <0.1 | 12.2 | 98 | 1.9
JCD086 | Sediment | 12 | 0.72 | 2.4 | 1.6 | <20 | 212 | 0.6 | 0.06 | 0.18 | 0.01 | 41.2 | 9 | 14.3 | 0.64 | 5.87 | 1.36 | 3.2 | <0.1 | 0.05 | <5 | <0.02 | 0.04 | 22.7 | 7 | 0.2 | 429 | 0.16 | 0.005 | 0.09 | 9.2 | 0.023 | 9.08 | <10 | <2 | 9.8 | <1 | <0.02 | 0.12 | 2.2 | <0.1 | 0.7 | 36.6 | <0.05 | <0.02 | 4.4 | 0.019 | 0.09 | 0.9 | 22 | <0.1 | 6.29 | 24.2 | 2
JCD087 | Sediment | 5 | 0.17 | 0.5 | 0.3 | <20 | 25.3 | 0.1 | 0.02 | 0.04 | <0.01 | 8.1 | 0.7 | 1.5 | 0.31 | 0.99 | 0.18 | 0.4 | <0.1 | <0.02 | <5 | <0.02 | 0.01 | 4.2 | 1 | 0.02 | 46 | 0.03 | 0.002 | 0.04 | 1 | 0.005 | 2.54 | <10 | <2 | 2.7 | <1 | <0.02 | 0.24 | 0.5 | <0.1 | 0.3 | 6 | <0.05 | <0.02 | 0.9 | 0.002 | 0.02 | 0.3 | 3 | <0.1 | 1.1 | 5.1 | 0.4
JCD088 | Sediment | 8 | 0.3 | 1.2 | <0.2 | <20 | 90.2 | 0.2 | 0.02 | 0.07 | 0.01 | 19.8 | 4 | 6 | 0.35 | 1.97 | 0.56 | 1.3 | <0.1 | 0.03 | <5 | <0.02 | 0.02 | 9.9 | 2.5 | 0.07 | 156 | 0.09 | 0.004 | 0.09 | 3.4 | 0.01 | 4.24 | <10 | <2 | 4.6 | <1 | <0.02 | 0.03 | 0.9 | <0.1 | 0.3 | 15.3 | <0.05 | 0.02 | 1.7 | 0.009 | 0.04 | 0.4 | 10 | <0.1 | 2.63 | 10.9 | 1
JCD089 | Sediment | 32 | 0.78 | 2.2 | 0.4 | <20 | 241.4 | 0.8 | 0.08 | 0.11 | 0.04 | 44.2 | 6 | 5.1 | 0.75 | 4.11 | 0.76 | 2.4 | <0.1 | <0.02 | 15 | <0.02 | 0.03 | 22.2 | 9 | 0.09 | 510 | 0.42 | 0.005 | 0.18 | 3.6 | 0.018 | 10.36 | <10 | <2 | 8.6 | <1 | 0.03 | 0.29 | 1.6 | 0.2 | 0.4 | 22.1 | <0.05 | <0.02 | 2.9 | 0.004 | 0.1 | 1.1 | 16 | <0.1 | 6.77 | 20.8 | 0.7
JCD090 | Sediment | 9 | 0.36 | 1.5 | 1.7 | <20 | 55.7 | 0.4 | 0.04 | 0.1 | 0.01 | 24.2 | 4.9 | 7.9 | 0.37 | 3.39 | 0.81 | 1.7 | <0.1 | 0.03 | <5 | <0.02 | 0.02 | 12 | 3.3 | 0.11 | 238 | 0.1 | 0.002 | 0.14 | 3.8 | 0.019 | 4.69 | <10 | <2 | 4.2 | <1 | <0.02 | 0.02 | 1.1 | <0.1 | 0.9 | 12.5 | <0.05 | 0.02 | 2 | 0.016 | 0.03 | 0.3 | 15 | <0.1 | 3.5 | 14.8 | 1.1
JCD091 | Sediment | 11 | 0.52 | 2.6 | 0.5 | <20 | 132.7 | 0.5 | 0.05 | 0.15 | 0.03 | 37 | 7.9 | 7.5 | 0.56 | 4.56 | 1.15 | 2.1 | <0.1 | <0.02 | 6 | <0.02 | 0.04 | 18.7 | 4.2 | 0.1 | 530 | 0.19 | 0.004 | 0.16 | 3.2 | 0.031 | 8.51 | <10 | <2 | 7.6 | <1 | <0.02 | <0.02 | 1.5 | <0.1 | 0.4 | 21.5 | <0.05 | <0.02 | 2.6 | 0.016 | 0.07 | 0.6 | 20 | <0.1 | 6.06 | 20.9 | 0.7
JCD092 | Sediment | 24 | 0.47 | 0.5 | 0.9 | <20 | 72.6 | 0.8 | 0.05 | 0.11 | 0.02 | 70.6 | 4.9 | 12 | 0.39 | 3.43 | 0.91 | 1.9 | <0.1 | 0.05 | 13 | <0.02 | 0.02 | 42 | 3.5 | 0.08 | 273 | 0.12 | 0.005 | 0.29 | 4.3 | 0.031 | 10.13 | <10 | <2 | 4.9 | <1 | <0.02 | <0.02 | 1.8 | 0.2 | 0.5 | 20 | <0.05 | <0.02 | 8 | 0.028 | 0.04 | 1 | 18 | <0.1 | 9.15 | 18.4 | 1.7
JCD031 | Sediment | 30 | 0.7 | 3.1 | 1.5 | <20 | 176.7 | 0.6 | 0.06 | 0.18 | 0.02 | 43.2 | 8.6 | 39.5 | 0.47 | 9.05 | 2.36 | 2.6 | <0.1 | 0.07 | 20 | <0.02 | 0.14 | 20.8 | 4.3 | 0.18 | 371 | 0.39 | 0.018 | 0.26 | 15.5 | 0.032 | 12.61 | <10 | <2 | 10 | <1 | <0.02 | 0.08 | 2.1 | <0.1 | 0.7 | 17.1 | <0.05 | <0.02 | 4.1 | 0.023 | 0.05 | 0.5 | 37 | <0.1 | 5.25 | 30.5 | 3.7
JCD032 | Sediment | 41 | 1.04 | 6.7 | 0.7 | <20 | 278 | 1 | 0.09 | 0.25 | 0.04 | 72.2 | 16.3 | 74.2 | 0.66 | 12.67 | 3.6 | 3.4 | <0.1 | 0.14 | 21 | 0.03 | 0.19 | 32.6 | 6.3 | 0.26 | 698 | 0.61 | 0.022 | 0.12 | 29.8 | 0.054 | 19.64 | <10 | <2 | 12.1 | <1 | <0.02 | 0.12 | 2.9 | 0.3 | 0.8 | 29.5 | <0.05 | <0.02 | 5.4 | 0.034 | 0.07 | 0.7 | 57 | <0.1 | 6.95 | 39.5 | 6.7
JCD033 | Sediment | 23 | 0.87 | 1.7 | 0.4 | <20 | 111.1 | 0.5 | 0.07 | 0.27 | 0.05 | 34.2 | 11.6 | 43.8 | 0.78 | 13.56 | 2.92 | 3.3 | <0.1 | 0.12 | 12 | <0.02 | 0.13 | 17.2 | 7.2 | 0.35 | 416 | 0.48 | 0.026 | 0.36 | 15.9 | 0.034 | 10.28 | <10 | <2 | 10.8 | <1 | <0.02 | 0.06 | 2.8 | 0.2 | 0.6 | 21.3 | <0.05 | <0.02 | 4.7 | 0.097 | 0.05 | 0.9 | 61 | <0.1 | 6.96 | 28 | 5.7
JCD034 | Sediment | 49 | 0.45 | 4.2 | 0.4 | <20 | 89.6 | 0.6 | 0.08 | 0.1 | 0.03 | 30.4 | 5.9 | 16.4 | 0.58 | 4.52 | 1.27 | 1.7 | <0.1 | 0.09 | 14 | <0.02 | 0.08 | 13.6 | 5.9 | 0.16 | 358 | 0.34 | 0.01 | 0.22 | 8.5 | 0.016 | 8.85 | <10 | <2 | 7.3 | <1 | <0.02 | 0.1 | 1.2 | 0.2 | 0.4 | 7.9 | <0.05 | <0.02 | 2.6 | 0.019 | 0.04 | 0.4 | 18 | <0.1 | 4.19 | 20.3 | 3.5
JCD035 | Sediment | 28 | 0.89 | 10.5 | 0.9 | <20 | 221.2 | 0.8 | 0.14 | 0.21 | 0.06 | 83.7 | 16 | 21.8 | 0.83 | 7.67 | 2.52 | 3.1 | <0.1 | 0.16 | 6 | <0.02 | 0.12 | 23.6 | 12.5 | 0.33 | 1032 | 0.47 | 0.011 | 0.21 | 16.5 | 0.027 | 23.51 | <10 | <2 | 10.9 | <1 | <0.02 | 0.24 | 2 | 0.3 | 0.7 | 15.6 | <0.05 | <0.02 | 4.6 | 0.028 | 0.08 | 0.9 | 43 | <0.1 | 8.84 | 38.7 | 6.8
JCD036 | Sediment | 22 | 1.17 | 12.4 | <0.2 | <20 | 105.3 | 1.2 | 0.13 | 0.11 | 0.13 | 35.3 | 27.3 | 52.5 | 0.64 | 34.02 | 6.44 | 4.3 | 0.1 | 0.09 | 8 | 0.03 | 0.1 | 14.9 | 11.8 | 0.26 | 866 | 1.09 | 0.008 | 0.15 | 47.2 | 0.075 | 20.61 | <10 | <2 | 8.4 | <1 | <0.02 | 0.22 | 3.9 | 0.3 | 0.4 | 13.3 | <0.05 | 0.06 | 3.6 | 0.017 | 0.05 | 0.6 | 53 | <0.1 | 7.29 | 77 | 5.1
JCD037 | Sediment | 42 | 0.89 | 5.5 | <0.2 | <20 | 44.9 | 0.3 | 0.04 | 0.06 | 0.24 | 25.4 | 12.8 | 30.5 | 0.29 | 22.92 | 3.07 | 2.9 | <0.1 | 0.04 | 11 | 0.03 | 0.05 | 11.8 | 12 | 0.2 | 333 | 0.73 | 0.003 | 0.07 | 19.9 | 0.023 | 10.44 | <10 | <2 | 4.1 | <1 | <0.02 | 0.08 | 2.5 | 0.2 | 0.1 | 5.6 | <0.05 | <0.02 | 1.8 | 0.011 | 0.02 | 0.2 | 34 | <0.1 | 3.14 | 65.4 | 2
JCD038 | Sediment | 22 | 0.41 | 4.5 | <0.2 | <20 | 108 | 0.4 | 0.1 | 0.09 | 0.01 | 36.6 | 6.7 | 12.7 | 0.51 | 3.87 | 1.51 | 1.6 | <0.1 | 0.12 | 13 | <0.02 | 0.1 | 14.6 | 6.3 | 0.18 | 430 | 0.38 | 0.012 | 0.24 | 8.2 | 0.022 | 11.07 | <10 | <2 | 6.7 | <1 | <0.02 | 0.18 | 1 | <0.1 | 0.5 | 7.6 | <0.05 | <0.02 | 3.2 | 0.017 | 0.03 | 0.5 | 19 | <0.1 | 4.16 | 18.5 | 4.5
JCD039 | Sediment | 17 | 0.38 | 4.6 | 0.4 | <20 | 61 | 0.4 | 0.08 | 0.08 | 0.02 | 35.5 | 4.1 | 11.5 | 0.55 | 4.2 | 1.38 | 1.4 | <0.1 | 0.1 | 11 | <0.02 | 0.09 | 15.6 | 5.8 | 0.15 | 217 | 0.44 | 0.011 | 0.21 | 6.7 | 0.019 | 10.3 | <10 | <2 | 6.3 | <1 | <0.02 | 0.17 | 0.8 | <0.1 | 0.5 | 7.9 | <0.05 | <0.02 | 2.7 | 0.016 | 0.05 | 0.4 | 18 | <0.1 | 3.37 | 20.3 | 4.3
JCD040 | Sediment | 17 | 0.55 | 6.4 | 1.1 | <20 | 77 | 0.9 | 0.1 | 0.08 | 0.03 | 42.6 | 4.3 | 12.2 | 0.51 | 4.31 | 1.76 | 1.9 | <0.1 | 0.08 | 12 | <0.02 | 0.09 | 20.9 | 4.8 | 0.09 | 324 | 0.45 | 0.01 | 0.43 | 4.7 | 0.022 | 15.73 | <10 | <2 | 7.4 | <1 | <0.02 | 0.21 | 0.9 | <0.1 | 0.7 | 7.3 | <0.05 | <0.02 | 3.6 | 0.016 | 0.06 | 0.7 | 28 | <0.1 | 4.91 | 18.5 | 3.6
JCD066 | Sediment | 11 | 0.28 | 1.6 | <0.2 | <20 | 59.2 | 0.2 | <0.02 | 0.06 | <0.01 | 25.6 | 3.2 | 4 | 0.25 | 3.6 | 0.96 | 1.3 | <0.1 | 0.04 | <5 | <0.02 | 0.07 | 13.3 | 1.9 | 0.07 | 191 | 0.3 | 0.019 | 0.1 | 2 | 0.012 | 3.84 | <10 | <2 | 5.5 | <1 | <0.02 | <0.02 | 0.6 | <0.1 | 0.4 | 10.4 | <0.05 | <0.02 | 2.8 | 0.02 | 0.03 | 0.2 | 14 | <0.1 | 2.55 | 13 | 1.4
JCD067 | Sediment | 12 | 0.24 | 1.1 | <0.2 | <20 | 54.2 | 0.2 | <0.02 | 0.05 | <0.01 | 17.9 | 2.7 | 3.9 | 0.23 | 2.78 | 0.7 | 0.9 | <0.1 | <0.02 | 8 | <0.02 | 0.06 | 8.9 | 1.7 | 0.05 | 144 | 0.24 | 0.017 | 0.13 | 2 | 0.01 | 3.08 | <10 | <2 | 4.9 | <1 | <0.02 | <0.02 | 0.6 | 0.1 | 0.2 | 8 | <0.05 | <0.02 | 2 | 0.014 | 0.03 | 0.2 | 9 | <0.1 | 1.98 | 8.2 | 0.9
JCD068 | Sediment | 11 | 0.72 | 2.6 | <0.2 | <20 | 57.2 | 0.4 | 0.03 | 0.06 | 0.01 | 42.9 | 5.3 | 10.2 | 0.67 | 5.79 | 1.39 | 2.8 | <0.1 | 0.06 | 11 | <0.02 | 0.07 | 14.7 | 4.6 | 0.1 | 219 | 0.4 | 0.011 | 0.12 | 3.8 | 0.018 | 6.63 | <10 | <2 | 12.4 | 2 | <0.02 | <0.02 | 1.7 | 0.2 | 0.5 | 9.3 | <0.05 | <0.02 | 3.6 | 0.017 | 0.07 | 0.4 | 24 | <0.1 | 3.8 | 14.3 | 2.1
JCD069 | Sediment | 15 | 1.39 | 1.7 | <0.2 | <20 | 211.7 | 0.8 | 0.04 | 0.18 | 0.02 | 52.8 | 14.1 | 41.4 | 0.8 | 17.6 | 2.62 | 6.5 | <0.1 | 0.07 | 9 | <0.02 | 0.09 | 23.8 | 13.7 | 0.56 | 513 | 0.38 | 0.024 | 0.03 | 21.4 | 0.025 | 6.09 | <10 | <2 | 10.7 | <1 | <0.02 | <0.02 | 3.1 | 0.2 | 0.5 | 25.9 | <0.05 | <0.02 | 4 | 0.009 | 0.06 | 0.4 | 39 | <0.1 | 7.59 | 43.3 | 3
JCD070 | Sediment | 14 | 0.28 | 0.9 | <0.2 | <20 | 65.8 | 0.1 | <0.02 | 0.05 | 0.02 | 23.1 | 2.6 | 5.5 | 0.35 | 4.52 | 0.76 | 1.2 | <0.1 | <0.02 | 9 | <0.02 | 0.07 | 11.1 | 1.9 | 0.07 | 173 | 0.4 | 0.014 | 0.15 | 2.6 | 0.018 | 3.27 | <10 | <2 | 11.6 | <1 | <0.02 | <0.02 | 0.6 | 0.2 | 0.3 | 7.8 | <0.05 | <0.02 | 2.1 | 0.016 | 0.04 | 0.2 | 10 | <0.1 | 2.01 | 14.5 | 0.8
JCD075 | Sediment | 14 | 0.41 | 2.2 | <0.2 | <20 | 72.7 | 0.6 | 0.02 | 0.11 | 0.02 | 32.1 | 5.2 | 7.8 | 0.35 | 5.26 | 1.4 | 1.8 | <0.1 | 0.06 | 11 | <0.02 | 0.07 | 17.2 | 3.1 | 0.1 | 246 | 0.18 | 0.025 | 0.09 | 3.6 | 0.029 | 6.35 | <10 | <2 | 6.2 | <1 | <0.02 | <0.02 | 1.1 | 0.1 | 0.3 | 17.5 | <0.05 | <0.02 | 3.3 | 0.025 | 0.03 | 0.5 | 21 | <0.1 | 3.67 | 23.1 | 2
JCD076 | Sediment | 10 | 0.12 | 1.5 | <0.2 | <20 | 63.7 | 0.2 | <0.02 | 0.03 | 0.01 | 15.6 | 3.1 | 2.8 | 0.18 | 2.48 | 0.45 | 0.5 | <0.1 | 0.02 | 8 | <0.02 | 0.04 | 7.3 | 0.5 | 0.02 | 189 | 0.27 | 0.016 | 0.03 | 1.6 | 0.007 | 2.8 | <10 | <2 | 3.5 | <1 | <0.02 | 0.04 | 0.3 | <0.1 | 0.1 | 13 | <0.05 | <0.02 | 1.2 | 0.003 | <0.02 | 0.2 | 5 | <0.1 | 1.29 | 3.5 | 0.9
JCD077 | Sediment | 12 | 0.17 | 1.3 | <0.2 | <20 | 61.4 | 0.1 | <0.02 | 0.02 | <0.01 | 20.3 | 2 | 4.1 | 0.24 | 2.93 | 0.58 | 0.6 | <0.1 | 0.03 | 9 | <0.02 | 0.06 | 10.3 | 1.5 | 0.03 | 179 | 0.35 | 0.014 | 0.08 | 1.6 | 0.007 | 2.44 | <10 | <2 | 4.4 | <1 | <0.02 | 0.05 | 0.5 | <0.1 | 0.1 | 6.8 | <0.05 | <0.02 | 1.9 | 0.006 | 0.03 | 0.2 | 5 | <0.1 | 1.54 | 6.1 | 0.9
JCD078 | Sediment | 12 | 0.22 | 1.3 | <0.2 | <20 | 56.6 | 0.2 | <0.02 | 0.06 | 0.01 | 22 | 2.2 | 4.3 | 0.3 | 3.65 | 0.73 | 1 | <0.1 | <0.02 | 14 | <0.02 | 0.06 | 11.2 | 1.5 | 0.04 | 146 | 0.36 | 0.021 | 0.17 | 2.3 | 0.013 | 3.2 | <10 | <2 | 5.2 | <1 | <0.02 | 0.07 | 0.6 | <0.1 | 0.3 | 10.6 | <0.05 | <0.02 | 1.6 | 0.013 | 0.03 | 0.3 | 10 | <0.1 | 1.94 | 6.7 | 1
JCD079 | Sediment | 11 | 0.22 | 0.6 | <0.2 | <20 | 73.7 | 0.1 | <0.02 | 0.06 | 0.01 | 14.7 | 2.2 | 3.3 | 0.29 | 2.82 | 0.51 | 0.8 | <0.1 | 0.02 | <5 | <0.02 | 0.05 | 7.4 | 1.6 | 0.03 | 122 | 0.27 | 0.019 | 0.1 | 1.8 | 0.008 | 2.5 | <10 | <2 | 5.4 | <1 | <0.02 | <0.02 | 0.5 | <0.1 | 0.2 | 10.8 | <0.05 | <0.02 | 1.2 | 0.005 | 0.03 | 0.2 | 5 | <0.1 | 1.44 | 7.7 | 0.7
JCD080 | Sediment | 13 | 0.29 | 1.5 | <0.2 | <20 | 111.6 | 0.2 | <0.02 | 0.07 | 0.01 | 22.1 | 4.5 | 7.5 | 0.28 | 4.29 | 0.85 | 1.1 | <0.1 | 0.03 | 13 | <0.02 | 0.07 | 10.6 | 2 | 0.06 | 312 | 0.38 | 0.022 | 0.24 | 3.4 | 0.013 | 4.2 | <10 | <2 | 5.7 | <1 | <0.02 | 0.04 | 0.7 | <0.1 | 0.3 | 13.9 | <0.05 | <0.02 | 1.5 | 0.018 | 0.04 | 0.3 | 12 | <0.1 | 2.54 | 10.9 | 1.2
JCD081 | Sediment | 12 | 0.28 | 1 | <0.2 | <20 | 89 | 0.2 | <0.02 | 0.06 | 0.01 | 19.3 | 3.1 | 4.7 | 0.25 | 3.18 | 0.7 | 1.1 | <0.1 | 0.02 | 8 | <0.02 | 0.07 | 9 | 2.1 | 0.05 | 239 | 0.24 | 0.02 | 0.18 | 2.1 | 0.008 | 3.16 | <10 | <2 | 6.1 | <1 | <0.02 | 0.02 | 0.7 | <0.1 | 0.2 | 12.3 | <0.05 | <0.02 | 1.3 | 0.018 | 0.04 | 0.2 | 10 | <0.1 | 2.07 | 9.1 | 1
JCD082 | Sediment | 12 | 0.14 | 0.7 | <0.2 | <20 | 76.8 | <0.1 | <0.02 | 0.03 | <0.01 | 20.6 | 1.7 | 4 | 0.21 | 2.65 | 0.46 | 0.5 | <0.1 | <0.02 | 6 | <0.02 | 0.03 | 10.9 | 0.8 | 0.02 | 149 | 0.38 | 0.009 | 0.1 | 1.7 | 0.005 | 2.04 | <10 | <2 | 3.4 | <1 | <0.02 | 0.04 | 0.3 | 0.2 | 0.2 | 6.8 | <0.05 | <0.02 | 1.6 | 0.006 | 0.03 | 0.2 | 5 | <0.1 | 1.44 | 4.8 | 0.4
JCD083 | Sediment | 16 | 0.21 | 0.8 | <0.2 | <20 | 89.3 | 0.1 | <0.02 | 0.03 | <0.01 | 18.5 | 2.2 | 4.2 | 0.21 | 2.57 | 0.59 | 0.8 | <0.1 | 0.02 | 14 | <0.02 | 0.06 | 9.4 | 1.3 | 0.03 | 111 | 0.21 | 0.025 | 0.08 | 1.6 | 0.006 | 2.8 | <10 | <2 | 3.8 | <1 | <0.02 | <0.02 | 0.5 | 0.1 | 0.2 | 11.4 | <0.05 | <0.02 | 1.8 | 0.006 | 0.02 | 0.2 | 8 | <0.1 | 1.86 | 6.2 | 0.9
JCD093 | Sediment | 18 | 0.74 | 11.2 | 0.2 | <20 | 45.2 | 0.9 | 0.16 | 0.04 | 0.03 | 45.3 | 8.6 | 13.4 | 0.92 | 11.22 | 2.73 | 2.5 | <0.1 | 0.03 | 7 | <0.02 | 0.08 | 20.7 | 11.1 | 0.18 | 314 | 0.58 | 0.005 | 0.08 | 11.8 | 0.027 | 12.34 | <10 | <2 | 8.5 | <1 | <0.02 | 0.12 | 1.3 | 0.1 | 0.2 | 6.5 | <0.05 | <0.02 | 5.4 | 0.004 | 0.05 | 0.5 | 14 | <0.1 | 3.18 | 44.4 | 1.8
JCD094 | Sediment | 59 | 0.77 | 14.8 | <0.2 | <20 | 45.7 | 0.5 | 0.21 | 0.04 | 0.02 | 41.4 | 12.2 | 14.4 | 0.57 | 14.5 | 3.24 | 2.6 | <0.1 | 0.04 | 10 | <0.02 | 0.08 | 19.6 | 11.6 | 0.19 | 360 | 0.46 | 0.005 | 0.08 | 13.8 | 0.027 | 13.23 | <10 | <2 | 7.1 | <1 | <0.02 | 0.16 | 1.5 | 0.2 | 0.1 | 8 | <0.05 | 0.03 | 5 | 0.003 | 0.05 | 0.4 | 15 | <0.1 | 2.69 | 52.6 | 1.9
JCD095 | Sediment | 19 | 0.82 | 36.6 | <0.2 | <20 | 73.5 | 2.2 | 0.14 | 0.05 | 0.04 | 46.5 | 15.7 | 16.9 | 1.08 | 14.22 | 3.9 | 2.9 | <0.1 | 0.05 | 15 | 0.02 | 0.09 | 21 | 12.8 | 0.16 | 742 | 0.69 | 0.005 | 0.13 | 13.3 | 0.033 | 17.12 | <10 | <2 | 9.5 | 1 | <0.02 | 0.24 | 1.8 | 0.3 | 0.3 | 7.3 | <0.05 | <0.02 | 4.8 | 0.005 | 0.07 | 0.9 | 27 | 0.2 | 5.58 | 50 | 3
JCD096 | Sediment | 18 | 0.8 | 28.6 | 2.1 | <20 | 59.2 | 0.8 | 0.18 | 0.06 | 0.03 | 50.3 | 15.6 | 14.5 | 0.94 | 15.66 | 4.09 | 2.6 | <0.1 | 0.04 | 7 | <0.02 | 0.1 | 23.2 | 8.7 | 0.16 | 534 | 0.57 | 0.005 | 0.13 | 17.1 | 0.033 | 19.39 | <10 | <2 | 8.6 | <1 | <0.02 | 0.88 | 1.8 | 0.3 | 0.2 | 10.4 | <0.05 | 0.03 | 5.9 | 0.003 | 0.06 | 0.5 | 20 | <0.1 | 3.67 | 58.7 | 2.5
JCD097 | Sediment | 26 | 0.95 | 17.9 | 0.5 | <20 | 69.8 | 0.9 | 0.24 | 0.06 | 0.03 | 55.6 | 15.2 | 18 | 0.8 | 16.54 | 4.33 | 3.1 | <0.1 | 0.02 | 17 | <0.02 | 0.1 | 25.7 | 7.6 | 0.12 | 667 | 0.73 | 0.005 | 0.2 | 12.7 | 0.024 | 23.64 | <10 | <2 | 9.3 | <1 | <0.02 | 0.32 | 1.9 | 0.3 | 0.3 | 11.2 | <0.05 | 0.02 | 5.8 | 0.005 | 0.05 | 0.7 | 25 | <0.1 | 4.22 | 44.7 | 2.2
JCD098 | Sediment | 19 | 0.82 | 13.6 | 0.9 | <20 | 67.8 | 0.9 | 0.17 | 0.06 | 0.04 | 55.3 | 18 | 12 | 0.84 | 15.7 | 4.16 | 2.6 | <0.1 | 0.09 | 9 | <0.02 | 0.09 | 24.8 | 8.1 | 0.16 | 742 | 0.53 | 0.006 | 0.1 | 18.1 | 0.041 | 20.17 | <10 | <2 | 7.8 | <1 | <0.02 | 1 | 1.9 | 0.3 | 0.2 | 11.3 | <0.05 | 0.05 | 6.5 | 0.003 | 0.06 | 0.5 | 20 | <0.1 | 3.94 | 59.1 | 1.7
JCD099 | Sediment | 19 | 0.96 | 22.2 | 1 | <20 | 62.3 | 0.6 | 0.22 | 0.07 | 0.03 | 55.9 | 16.7 | 15.4 | 1.13 | 17.44 | 4.56 | 3.2 | <0.1 | 0.08 | 11 | 0.02 | 0.1 | 26 | 10.5 | 0.19 | 614 | 0.6 | 0.005 | 0.1 | 17.5 | 0.049 | 20.88 | <10 | <2 | 9.4 | <1 | <0.02 | 0.7 | 1.9 | 0.2 | 0.3 | 11.8 | <0.05 | <0.02 | 6.6 | 0.004 | 0.07 | 0.6 | 22 | <0.1 | 4.1 | 62.5 | 3.3
JCD100 | Sediment | 17 | 0.67 | 6.6 | 0.7 | <20 | 60.4 | 0.6 | 0.15 | 0.06 | 0.03 | 42.3 | 7.8 | 9.4 | 1.01 | 8.42 | 2.1 | 2.3 | <0.1 | 0.03 | 10 | <0.02 | 0.1 | 20.5 | 9.6 | 0.14 | 325 | 0.39 | 0.009 | 0.16 | 8.8 | 0.022 | 11.09 | <10 | <2 | 11 | <1 | <0.02 | 0.17 | 1.2 | 0.2 | 0.3 | 8.7 | <0.05 | <0.02 | 5.1 | 0.005 | 0.08 | 0.7 | 13 | <0.1 | 5.23 | 39.9 | 2

## QC Data
ACME ANALYTICAL LABORATORIES LTD. |  |  |  | Final Report
Client: | Servico Geologico do Brasil CPRM PA
File Created: | 15-Mar-2011
Job Number: | GOI11000023
Number of Samples: | 68
Project: | Project Tres Passos
Shipment ID: | 017
P.O. Number: | LOTE 800
Received: | 07-Jan-2011
| Method | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F | 1F
| Analyte | Ag | Al | As | Au | B | Ba | Be | Bi | Ca | Cd | Ce | Co | Cr | Cs | Cu | Fe | Ga | Ge | Hf | Hg | In | K | La | Li | Mg | Mn | Mo | Na | Nb | Ni | P | Pb | Pd | Pt | Rb | Re | S | Sb | Sc | Se | Sn | Sr | Ta | Te | Th | Ti | Tl | U | V | W | Y | Zn | Zr
| Unit | PPB | % | PPM | PPB | PPM | PPM | PPM | PPM | % | PPM | PPM | PPM | PPM | PPM | PPM | % | PPM | PPM | PPM | PPB | PPM | % | PPM | PPM | % | PPM | PPM | % | PPM | PPM | % | PPM | PPB | PPB | PPM | PPB | % | PPM | PPM | PPM | PPM | PPM | PPM | PPM | PPM | % | PPM | PPM | PPM | PPM | PPM | PPM | PPM
| MDL | 2 | 0.01 | 0.1 | 0.2 | 20 | 0.5 | 0.1 | 0.02 | 0.01 | 0.01 | 0.1 | 0.1 | 0.5 | 0.02 | 0.01 | 0.01 | 0.1 | 0.1 | 0.02 | 5 | 0.02 | 0.01 | 0.5 | 0.1 | 0.01 | 1 | 0.01 | 0.001 | 0.02 | 0.1 | 0.001 | 0.01 | 10 | 2 | 0.1 | 1 | 0.02 | 0.02 | 0.1 | 0.1 | 0.1 | 0.5 | 0.05 | 0.02 | 0.1 | 0.001 | 0.02 | 0.1 | 2 | 0.1 | 0.01 | 0.1 | 0.1
Sample | Type
Pulp Duplicates
JCD028 | Sediment | 33 | 1.13 | 14.6 | 1 | <20 | 279.6 | 1.4 | 0.18 | 0.22 | 0.06 | 83.3 | 17.7 | 31.9 | 1.47 | 6.24 | 3.34 | 4 | <0.1 | 0.04 | 10 | 0.04 | 0.11 | 28.7 | 15.3 | 0.32 | 1651 | 0.32 | 0.006 | 0.41 | 13.7 | 0.06 | 25.59 | <10 | <2 | 17.7 | <1 | <0.02 | 0.32 | 2.9 | <0.1 | 1.5 | 17.6 | <0.05 | 0.04 | 4.2 | 0.028 | 0.14 | 1 | 53 | 0.1 | 12.21 | 52.5 | 1.6
JCD028 | REP | 32 | 1.14 | 15.1 | 0.6 | <20 | 280.5 | 1.5 | 0.19 | 0.23 | 0.09 | 85 | 18.5 | 30.7 | 1.46 | 6.82 | 3.38 | 4 | <0.1 | 0.03 | 14 | <0.02 | 0.11 | 29 | 16 | 0.32 | 1693 | 0.32 | 0.006 | 0.38 | 13.7 | 0.061 | 25.89 | <10 | 3 | 17.8 | <1 | <0.02 | 0.28 | 2.9 | <0.1 | 2.7 | 18.4 | <0.05 | <0.02 | 4 | 0.027 | 0.15 | 1 | 54 | <0.1 | 12.55 | 55.2 | 1.5
JCD044 | Sediment | 15 | 0.78 | 2.2 | 0.2 | <20 | 126.8 | 0.5 | 0.14 | 0.13 | 0.04 | 34.7 | 4.2 | 23.3 | 0.82 | 5.2 | 1.35 | 2.6 | <0.1 | <0.02 | 9 | <0.02 | 0.06 | 19.8 | 8.4 | 0.17 | 202 | 0.11 | 0.004 | 0.43 | 7.8 | 0.033 | 8.97 | <10 | <2 | 10.2 | <1 | <0.02 | 0.1 | 1.9 | <0.1 | 0.5 | 11.5 | <0.05 | <0.02 | 3.6 | 0.019 | 0.07 | 0.6 | 22 | <0.1 | 7.25 | 29.3 | 1.6
JCD044 | REP | 13 | 0.76 | 2.2 | 0.5 | <20 | 117.9 | 0.7 | 0.11 | 0.13 | 0.04 | 32.2 | 4.1 | 22.8 | 0.8 | 5.21 | 1.34 | 2.5 | <0.1 | 0.02 | 8 | <0.02 | 0.06 | 18.4 | 8.4 | 0.16 | 197 | 0.11 | 0.004 | 0.38 | 7.8 | 0.03 | 8.93 | <10 | <2 | 10.1 | <1 | <0.02 | 0.11 | 2 | 0.2 | 0.5 | 11.5 | <0.05 | <0.02 | 2.9 | 0.019 | 0.08 | 0.6 | 20 | <0.1 | 6.92 | 29.1 | 1.6
JCD091 | Sediment | 11 | 0.52 | 2.6 | 0.5 | <20 | 132.7 | 0.5 | 0.05 | 0.15 | 0.03 | 37 | 7.9 | 7.5 | 0.56 | 4.56 | 1.15 | 2.1 | <0.1 | <0.02 | 6 | <0.02 | 0.04 | 18.7 | 4.2 | 0.1 | 530 | 0.19 | 0.004 | 0.16 | 3.2 | 0.031 | 8.51 | <10 | <2 | 7.6 | <1 | <0.02 | <0.02 | 1.5 | <0.1 | 0.4 | 21.5 | <0.05 | <0.02 | 2.6 | 0.016 | 0.07 | 0.6 | 20 | <0.1 | 6.06 | 20.9 | 0.7
JCD091 | REP | 17 | 0.51 | 2.6 | <0.2 | <20 | 134 | 0.7 | 0.07 | 0.15 | 0.01 | 38.5 | 8 | 7.5 | 0.54 | 4.15 | 1.14 | 2 | <0.1 | <0.02 | 12 | <0.02 | 0.04 | 19.4 | 4 | 0.1 | 545 | 0.17 | 0.004 | 0.14 | 3.5 | 0.032 | 8.31 | <10 | <2 | 7.4 | <1 | <0.02 | <0.02 | 1.4 | 0.2 | 0.3 | 21 | <0.05 | 0.02 | 2.6 | 0.016 | 0.07 | 0.6 | 19 | <0.1 | 5.9 | 20.2 | 0.8
Reference Materials
STD DS8 | STD | 1784 | 0.9 | 25.3 | 144.6 | <20 | 308.5 | 5 | 8.27 | 0.65 | 2.47 | 27.8 | 6.9 | 107.3 | 2.48 | 105.35 | 2.4 | 4.6 | 0.2 | 0.06 | 230 | 2.21 | 0.41 | 12.9 | 28.8 | 0.59 | 609 | 12.36 | 0.084 | 0.95 | 34.8 | 0.082 | 125.03 | 142 | 380 | 37.9 | 74 | 0.15 | 5.69 | 2.3 | 5 | 7 | 70.1 | <0.05 | 5.15 | 6.4 | 0.104 | 5.65 | 2.5 | 39 | 2.7 | 5.33 | 328 | 1.9
STD OREAS45PA | STD | 333 | 3.43 | 4.8 | 54 | <20 | 192.9 | 0.6 | 0.21 | 0.24 | 0.12 | 39.5 | 98.8 | 739.7 | 1.07 | 591.06 | 16.54 | 17.2 | 0.2 | 0.39 | 38 | 0.08 | 0.07 | 15.9 | 6 | 0.12 | 1076 | 0.98 | 0.013 | 0.13 | 288.9 | 0.037 | 19.93 | 60 | 87 | 8.8 | 1 | <0.02 | 0.21 | 46.9 | 0.6 | 1.8 | 15.1 | <0.05 | 0.09 | 7 | 0.127 | 0.07 | 1.2 | 222 | <0.1 | 8.82 | 117.7 | 17.4
STD DS8 | STD | 1659 | 0.92 | 27.1 | 102.5 | <20 | 297.6 | 5.8 | 7.48 | 0.66 | 2.4 | 27.4 | 7.2 | 109.8 | 2.41 | 103.66 | 2.42 | 4.6 | 0.1 | 0.07 | 177 | 2.21 | 0.41 | 12.8 | 29.1 | 0.6 | 623 | 12.2 | 0.087 | 0.97 | 34.7 | 0.085 | 130.36 | 140 | 383 | 38 | 53 | 0.15 | 5.36 | 2.4 | 5.2 | 6.8 | 72.4 | <0.05 | 4.93 | 6.3 | 0.107 | 5.57 | 2.6 | 39 | 3.5 | 5.5 | 322.2 | 1.9
STD DS8 | STD | 1598 | 0.93 | 24.9 | 118.5 | <20 | 294.5 | 5.1 | 6.86 | 0.71 | 2.24 | 27.9 | 7.5 | 112.7 | 2.43 | 109.72 | 2.41 | 4.6 | 0.1 | 0.06 | 182 | 2.3 | 0.43 | 15 | 27.7 | 0.6 | 605 | 12.37 | 0.087 | 0.8 | 36 | 0.08 | 123.96 | 112 | 355 | 37.5 | 55 | 0.15 | 4.55 | 2.4 | 5.2 | 7.2 | 68.4 | <0.05 | 4.58 | 6.6 | 0.111 | 5.34 | 2.6 | 38 | 2.6 | 5.58 | 324.3 | 1.9
STD OREAS45PA | STD | 308 | 3.45 | 4.2 | 45.3 | <20 | 187.5 | 0.7 | 0.2 | 0.24 | 0.11 | 37.7 | 105.7 | 742.2 | 1.01 | 600.31 | 16.35 | 16.2 | 0.1 | 0.44 | 32 | 0.09 | 0.07 | 17 | 6.6 | 0.12 | 1144 | 0.88 | 0.013 | 0.13 | 301 | 0.035 | 19.62 | 31 | 75 | 9.1 | <1 | <0.02 | 0.11 | 48.6 | 0.4 | 1.7 | 15.4 | <0.05 | 0.08 | 7 | 0.128 | 0.08 | 1.2 | 215 | <0.1 | 8.86 | 122 | 19.7
STD DS8 | STD | 1539 | 0.92 | 25.3 | 100 | <20 | 281.9 | 5.3 | 7.01 | 0.69 | 2.32 | 25.9 | 7.3 | 112.2 | 2.38 | 110.01 | 2.41 | 4.5 | <0.1 | 0.06 | 195 | 2.28 | 0.42 | 14 | 27.9 | 0.6 | 609 | 12.53 | 0.085 | 0.85 | 36.6 | 0.084 | 126.86 | 115 | 330 | 37.6 | 54 | 0.15 | 4.43 | 2.3 | 4.9 | 6.9 | 68.4 | <0.05 | 4.75 | 6.6 | 0.111 | 5.42 | 2.8 | 38 | 2.7 | 5.54 | 323.3 | 2
STD DS8 | STD | 1684 | 0.88 | 23.1 | 124.5 | <20 | 272.8 | 4.6 | 6.78 | 0.67 | 2.35 | 23.8 | 8.5 | 118.6 | 2.42 | 118.38 | 2.41 | 4.3 | <0.1 | 0.06 | 170 | 2.24 | 0.42 | 12.7 | 26.3 | 0.59 | 573 | 12.88 | 0.076 | 0.77 | 40.3 | 0.071 | 123.96 | 116 | 332 | 37.1 | 55 | 0.16 | 3.98 | 2.1 | 5 | 6.5 | 57.7 | <0.05 | 4.7 | 6.5 | 0.108 | 5.38 | 2.5 | 38 | 2.6 | 4.95 | 310.4 | 1.9
STD OREAS45PA | STD | 296 | 3.17 | 3.2 | 39.9 | <20 | 170 | 0.6 | 0.18 | 0.25 | 0.08 | 34.8 | 106.5 | 810.6 | 0.87 | 560.14 | 15.78 | 15.5 | <0.1 | 0.47 | 30 | 0.08 | 0.06 | 15.7 | 5.4 | 0.1 | 1109 | 0.89 | 0.01 | 0.19 | 284.3 | 0.029 | 18.37 | 29 | 68 | 8 | <1 | <0.02 | 0.1 | 41.7 | 0.3 | 1.5 | 12.8 | <0.05 | 0.08 | 6.4 | 0.122 | 0.06 | 1.1 | 208 | <0.1 | 8.63 | 115.5 | 20
STD DS8 | STD | 1711 | 0.86 | 21.9 | 102.4 | <20 | 270.2 | 4.5 | 6.55 | 0.66 | 2.28 | 23.6 | 8.5 | 122.8 | 2.37 | 117.76 | 2.39 | 4.4 | 0.1 | 0.07 | 184 | 2.21 | 0.41 | 13.1 | 25.9 | 0.58 | 581 | 13.78 | 0.072 | 0.83 | 41.1 | 0.071 | 125.21 | 106 | 327 | 36.3 | 54 | 0.15 | 4.04 | 2.1 | 4.9 | 6.3 | 56.8 | <0.05 | 4.83 | 6.4 | 0.111 | 5.39 | 2.7 | 38 | 2.8 | 5.06 | 306.4 | 1.9
BLK | BLK | <2 | <0.01 | <0.1 | <0.2 | <20 | <0.5 | <0.1 | <0.02 | <0.01 | <0.01 | <0.1 | <0.1 | <0.5 | <0.02 | <0.01 | <0.01 | <0.1 | <0.1 | <0.02 | <5 | <0.02 | <0.01 | <0.5 | <0.1 | <0.01 | <1 | <0.01 | <0.001 | <0.02 | <0.1 | <0.001 | <0.01 | <10 | <2 | <0.1 | <1 | <0.02 | <0.02 | <0.1 | <0.1 | <0.1 | <0.5 | <0.05 | <0.02 | <0.1 | <0.001 | <0.02 | <0.1 | <2 | <0.1 | <0.01 | <0.1 | <0.1
BLK | BLK | <2 | <0.01 | <0.1 | <0.2 | <20 | <0.5 | <0.1 | <0.02 | <0.01 | <0.01 | <0.1 | <0.1 | <0.5 | <0.02 | <0.01 | <0.01 | <0.1 | <0.1 | <0.02 | <5 | <0.02 | <0.01 | <0.5 | <0.1 | <0.01 | <1 | <0.01 | <0.001 | <0.02 | <0.1 | <0.001 | <0.01 | <10 | <2 | <0.1 | <1 | <0.02 | <0.02 | <0.1 | <0.1 | <0.1 | <0.5 | <0.05 | <0.02 | <0.1 | <0.001 | <0.02 | <0.1 | <2 | <0.1 | <0.01 | <0.1 | <0.1
BLK | BLK | <2 | <0.01 | <0.1 | <0.2 | <20 | <0.5 | <0.1 | <0.02 | <0.01 | <0.01 | <0.1 | <0.1 | <0.5 | <0.02 | <0.01 | <0.01 | <0.1 | <0.1 | <0.02 | <5 | <0.02 | <0.01 | <0.5 | <0.1 | <0.01 | <1 | <0.01 | <0.001 | <0.02 | <0.1 | <0.001 | <0.01 | <10 | <2 | <0.1 | <1 | <0.02 | <0.02 | <0.1 | <0.1 | <0.1 | <0.5 | <0.05 | <0.02 | <0.1 | <0.001 | <0.02 | <0.1 | <2 | <0.1 | <0.01 | <0.1 | <0.1